|  |
| --- |
| **How to use this BPIR summary**BPIR regulations do not prescribe any specific layout or formatting of required [disclosure information](https://bpir.nz/bpir-regulations-and-requirements/disclosure-information). You may choose to take parts of this BPIR Ready summary and integrate it into your existing technical information, or you may choose to create a specific BPIR disclosure information document.To create a specific BPIR disclosure information document:1. Download the DOCX or copy the summary into your preferred document editor
2. Edit the relevant parts of the document where desired, such as:
	* Any content adjustments to the summary (e.g. add/remove clauses)
	* Replace the placeholder 'responsible person' information
	* Any layout alternations (e.g.removing the appendix and adding personal branding)
3. Export to your preferred format (e.g. PDF) and publish on your website
 |

## Adesso Elevate Toilet BPIR Declaration

Version: V1

#### Designated building product: Class 1

#### Declaration

Plumbline NZ has provided this declaration to satisfy the provisions of Schedule 1(d) of the Building (Building Product Information Requirements) Regulations 2022.

#### Product/system

|  |  |
| --- | --- |
| **Name** | Adesso Elevate Toilet  |
| **Line** | Ceramic toilets  |
| **Identifier** | ELE120 ELE120.RBELE120.RB.BLELE120.RB.GRELE100ELE110ELE110.RBSKU:711727713735713736724734724735729180729192726218726219726220 |

#### Description

The ceramic toilet suite is a bathroom fixture designed for efficient waste disposal and personal hygiene. Its key components include a ceramic toilet bowl and a matching ceramic cistern (tank) that holds water for flushing. When used, the toilet suite provides a convenient and hygienic way to dispose of human waste, offering a water-efficient and odor-controlling solution. The ceramic material used in its construction ensures durability and easy cleaning, making it a popular choice for residential and commercial bathrooms alike.

#### Scope of use

For Use In Residential And Commercial Applications. Must be Installed By A Registered Plumber, And As Per The Installation Instructions.

#### Conditions of use

* must be installed by a registered plumber, registered in NZ \*Must be designed in accordance with a design/installation manual (identify the document by name and version)

#### Relevant building code clauses

**B2 Durability** — B2.3.1 (b)

**F2 Hazardous building materials** — F2.3.1

**G13 Foul water** — G13.3.1, G13.3.2

#### Contributions to compliance

G1 (Personal hygiene), performance clause G1.2.0 / G13 (Foul Water), performance, Clauses G13.3.2 / B2 (Durability) B2.3.1

Clauses relating to this product are aimed at the installer, please find comprehensive installation instructions the product information page, the product is designed to enable the installer to comply with the building code. The product complies with the B2 (durability) B2.3.1

#### Supporting documentation

The following additional documentation supports the above statements:

|  |  |  |
| --- | --- | --- |
| **Product supporting documents**  | Version 1  | <https://www.mico.co.nz/> |

For further information supporting Adesso Elevate Toilet claims refer to our website.

#### Contact details

|  |  |
| --- | --- |
| **Manufacture location** | Overseas |
| **Legal and trading name of manufacturer** | Plumbline LTD |
| **Legal and trading name of importer** | Plumbline NZ |
| **Importer address for service** | 1 ANTILLES PLACE, GRENADA VILLAGE WELLINGTON 6037 |
| **Importer website** | <https://plumbline.co.nz/> |
| **Importer NZBN** | 9429036110377 |
| **Importer email** | sales@plumbline.co.nz |
| **Importer phone number** | +6445689898 |

#### Responsible person

As the responsible person as set out in Regulation 3, I confirm that the information supplied in this declaration is based on information supplied to the company as well as the company's own processes and is therefore to the best of my knowledge, correct.

I can also confirm that Adesso Elevate Toilet is not subject to a warning on ban under [s26 of the Building Act](https://www.legislation.govt.nz/act/public/2004/0072/latest/DLM306353.html).

Signed for and on behalf of **Plumbline NZ:**

Your Signature

Your Name
YOUR POSITION
Month Year

**Plumbline NZ**
1 ANTILLES PLACE, GRENADA VILLAGE WELLINGTON 6037 New Zealand
+6445689898 | <https://plumbline.co.nz/>

## Appendix

|  |
| --- |
| Note: The below appendix includes information relating to BPIR Ready.Publishing this information is not a requirement under BPIR. Its inclusion here is to provide a reference for how this BPIR summary was generated as well as to help summary creators understand the performance clauses suggested by BPIR Ready. |

#### BPIR Ready selections

**Category:** Foul water conveying plumbing and drainage systems

|  | **Yes** | **No** |
| --- | --- | --- |
| Capable of being permanently concealed  |  | **×**  |

#### Building code performance clauses

#### B2 Durability

B2.3.1

*Building elements* must, with only normal maintenance, continue to satisfy the performance requirements of this code for the lesser of the *specified intended life* of the *building*, if stated, or:

* (b) 15 years if: those building elements (including the building envelope, exposed plumbing in the subfloor space, and in-built chimneys and flues) are moderately difficult to access or replace, or failure of those building elements to comply with the building code would go undetected during normal use of the building, but would be easily detected during normal maintenance.

#### F2 Hazardous building materials

F2.3.1

The quantities of gas, liquid, radiation or solid particles emitted by materials used in the *construction* of *buildings*, shall not give rise to harmful concentrations at the surface of the material where the material is exposed, or in the atmosphere of any space.

#### G13 Foul water

G13.3.1

The plumbing system shall be constructed to:

1. convey foul water from buildings to a drainage system,
2. avoid the likelihood of blockage and leakage,
3. avoid the likelihood of foul air and gases entering buildings, and
4. provide reasonable access for maintenance and clearing blockages.

G13.3.2

The drainage system shall:

1. convey foul water to an appropriate outfall,
2. be constructed to avoid the likelihood of blockage,
3. be supported, jointed and protected in a way that will avoid the likelihood of penetration of roots or the entry of ground water,
4. be provided with reasonable access for maintenance and clearing blockages,
5. be ventilated to avoid the likelihood of foul air and gases accumulating in the drainage system and sewer, and
6. be constructed to avoid the likelihood of damage from superimposed loads or normal ground movement.